[image: image7.bmp]
	COUNTY DURHAM & DARLINGTON

FIRE & RESCUE SERVICE

	FIRE SAFETY

RISK ASSESSMENT



	

	

	FOR SIMPLE PREMISES V2


	www.ddfire.gov.uk


Introduction

Fire Safety Risk Assessment
This form is intended to assist small businesses in carrying out the fire safety risk safety assessment. It is suitable for use in simple premises, with a simple internal layout and small numbers of people present, e.g. small offices, shops or industrial units and where people can escape unaided. In buildings with complicated escape arrangements, large numbers of people or high fire safety risk processes a more comprehensive fire safety risk assessment may be necessary.

The enclosed information follows a simple 5 step guide to completing a suitable assessment. The fire safety risk assessment does not need to be complicated, it should be a common sense review to identify the hazards (what could start a fire and what could burn), followed by consideration of the possible effects of a fire on people using the building. The important thing is that the fire safety risk assessment is systematic to ensure that every part of the premises is assessed. Every room, space or area, especially those not often used, should be included.

If you identify any significant risks you should consider if they can be reduced: first by removing the hazards and secondly by providing fire protection measures (e.g. automatic fire detection). These points should be addressed within the ‘What needs to be done to make each situation safe?’ section. If your premises are located within a larger building and if a fire in your business could affect your neighbours, you should share the findings of your fire safety risk assessment with your neighbours.

Your fire safety risk assessment must be kept up to date. It is important to update the assessment if anything is changed that might affect the risk (e.g. new ignition sources or use of flammable liquids etc.). If you identify that either the likelihood of a fire occurring or there is a risk to people you may want to consider seeking further assistance.

Emergency Plan

The findings of the fire safety risk assessment should be used to prepare an emergency plan. The plan should set out, what to do in case of fire, identify the escape routes, where to assemble and how to contact the Fire and Rescue Service. The fire safety equipment and any equipment that provides a possible ignition source (e.g. cooking, electrical appliances, etc.) should be regularly maintained to reduce the chance of fire and the risk to people. Frequent checks should also be made to make sure that the storage of materials, especially flammable materials, does not increase the risk of fire or prevent the use of escape routes. It is important that all members of staff know how to prevent fires and what to do if a fire does occur. To make sure that the emergency plan works regular fire drills should be carried out. For further guidance on the Regulatory Reform (Fire Safety) Order 2005 and for information and guidance on carrying out your fire safety risk assessment visit www.ddfire.gov.uk and following the links in fire safety then legislative fire safety. 
The 5 Step Guide to Fire Safety Risk Assessment
	1
	Identify the fire hazards 

	2
	Identify people at risk

	3
	Evaluate, remove, reduce and protect from risk

	4
	Record, plan, inform, instruct and train

	5
	Review


	FIRE SAFETY RISK ASSESSMENT

	
	

	DETAILS

	
	

	Company Name:
	

	
	

	Premises Name:
	

	
	

	Address:
	

	
	

	
	

	
	

	
	

	
	

	Responsible Person:
	

	
	

	Position:
	

	
	

	Date of Assessment:
	

	
	

	Carried out by:
	

	
	

	Position:
	

	
	

	Use of the Premises:
	

	
	

	
	

	
	

	
	

	
	

	OCCUPANCY

	
	

	Times in Use:
	Weekdays:
	
	Weekends:
	

	
	

	Total Numbers of Staff:
	Weekdays:
	
	Weekends:
	

	
	

	Total of all Persons Present:
	Weekdays:
	
	Weekends:
	

	
	

	SIZE

	
	

	Total Size of Premises (M2):
	

	
	

	Number of Storeys:
	

	
	

	Number of Basements:
	


INDEMNITY

This document has been produced as a tool to assist you in completing a fire safety risk assessment of your premises. It is used entirely at your own risk to identify what you consider are your significant findings, and also whether you consider the information therein to be suitable and sufficient. It is in no way exhaustive and County Durham and Darlington Fire and Rescue Service accepts no liability whatsoever for any circumstances which may arise as a result of using this tool. 
	Step 1 - Identify Fire Hazards (Sources of Ignition)

	
	
	
	

	Type
	Location
	Are existing control measures suitable?

	Naked Flames
	
	
	YES
	
	NO
	

	Portable Heaters and Heating Equipment 
	
	
	YES
	
	NO
	

	Electrical Equipment
	
	
	YES
	
	NO
	

	Cooking Equipment
	
	
	YES
	
	NO
	

	Work Process Risk(s)
	
	
	YES
	
	NO
	

	Arson
	
	
	YES
	
	NO
	

	Smoking Materials
	
	
	YES
	
	NO
	

	Other Sources
(including Contractors)
	
	
	YES
	
	NO
	

	
	
	
	
	
	
	

	
	If you have answered NO to any question above complete the details below: -
	

	
	What needs to be done to make each situation safe?
	Action required by whom
	Date
due
	Date
complete
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	
	
	
	
	
	


	Step 1 – Identify Fire Hazards (Sources of Fuel and Oxygen)

	
	
	
	

	Type
	Location
	Are existing control measures suitable?

	Wood / Paper /Cardboard
	
	
	YES
	
	NO
	

	Plastics / Rubber / Foam 
	
	
	YES
	
	NO
	

	Retail Stock 
	 
	
	YES
	
	NO
	

	Furniture and Fixings 

(curtains, blinds etc)
	
	
	YES
	
	NO
	

	Flammable Material
(gases / liquids / paints / thinners / glues)
	
	
	YES
	
	NO
	

	Display Materials or Decorations
	
	
	YES
	
	NO
	

	Waste Materials

(refuse, packaging)
	
	
	YES
	
	NO
	

	Building Structure
	
	
	YES
	
	NO
	

	Oxygen Supplies

(air conditioning units / bottles / piped supply)
	
	
	YES
	
	NO
	

	

	
	If you have answered NO to any question above complete the details below: -
	

	
	What needs to be done to make each situation safe?
	Action required by whom
	Date

due
	Date

complete
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	
	
	
	
	
	

	Step 2 – Identifying People at Risk

	

	Type
	Findings

	a) Sensory Risk:
People with visual and / or hearing impairment(s)
	

	b) Mobility Risk:
People with physical impairments
	

	c) Familiarity Risk:
People who may be new to the premises and not familiar to its layout, seasonal workers, contractors, visitors or customers
	

	d) Numbers Risk:
Large numbers of people, small numbers of disabled people 
	

	e) Lone  Workers / People Working in Isolation / Others
	

	

	Additional Information:



	Step 3 ~ Evaluate, Remove, Reduce and Protect From Risk

	
	
	
	

	Are ignition sources controlled to reduce the chances of fire?
	YES
	
	NO
	

	Are combustible materials kept away from ignition sources?
	YES
	
	NO
	

	Are all windows and openings closed last thing at night?
	YES
	
	NO
	

	Is your fire alarm system adequate for your premises? 
	YES
	
	NO
	

	Will everybody be warned if the fire alarm operates?
	YES
	
	NO
	

	Can everyone escape without assistance?
	YES
	
	NO
	

	Is escape from fire available in more than one direction?
	YES
	
	NO
	

	Are all fire exits easily identified by the correct signs?
	YES
	
	NO
	

	Are escape routes free from obstruction and storage?
	YES
	
	NO
	

	Are all doors on escape routes easily opened without a key?
	YES
	
	NO
	

	Do all doors on escape routes open in the direction of escape?
	YES
	
	NO
	

	Can everyone escape in a reasonable time?
	YES
	
	NO
	

	Do you have emergency lighting?
	YES
	
	NO
	

	Is the lighting adequate to illuminate circulation routes?
	YES
	
	NO
	

	Do you have fire fighting equipment?
	YES
	
	NO
	

	Is the fire fighting equipment adequate for the risks present?
	YES
	
	NO
	

	Are housekeeping and general waste management adequate?
	YES
	
	NO
	

	Are security arrangements sufficient to prevent access?
	YES
	
	NO
	

	Are measures adequate to prevent the incidents of arson?
	YES
	
	NO
	

	Are there any large open roof spaces or concealed ceiling voids?
	YES
	
	NO
	

	Could a fire in your premise spread to another?
	YES
	
	NO
	

	Can the fire service easily get to your premises?
	YES
	
	NO
	

	
	
	
	
	
	
	

	
	If you have answered NO to any question above complete the details below: -
	

	
	What needs to be done to make each situation safe?
	Action required by whom
	Date

due
	Date

complete
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	
	
	
	
	
	

	Step 4 ~ Record, Plan, Inform, Instruct and Train

	
	
	
	

	You must record your fire safety arrangements – this includes:

	
	
	
	

	Have you made an emergency plan?
	YES
	
	NO
	

	Have you provided fire instruction and staff training?
	YES
	
	NO
	

	Are there records of fire drills to test your training and emergency plan?
	YES
	
	NO
	

	Are there records of maintenance on all fire safety measures?
	YES
	
	NO
	

	Have you recorded the significant findings of this assessment on Page 9?
	YES
	
	NO
	

	
	
	
	
	
	
	

	
	If you have answered NO to any question above complete the details below: -
	

	
	What needs to be done to make each situation safe?
	Action required by whom
	Date

due
	Date

complete
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	· 
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	

	Step 5 ~ Review
	
	

	
	
	
	

	Your fire safety risk assessment must be kept up to date
	

	
	
	
	
	
	
	

	Date of next review

It is recommended that you review your fire safety risk assessment regularly (recommended every 12 months) OR if you make changes to the layout of your premises, any changes to work processes, significantly increase the amount of combustible materials stored or displayed or sources of ignition, change your opening hours (e.g. to include night time opening etc) or any failures in your fire safety precautions then you should review your fire safety risk assessment.  
	/        / 20
	

	
	
	


For further information visit the website – www.firesafetyguides.communities.gov.uk or contact the Fire Safety Section of County Durham & Darlington Fire & Rescue Service 
on 0191 384 3381.
A copy of this form can be downloaded from www.ddfire.gov.uk and follow the links from fire safety then legislative fires safety.
SIMPLE PREMISES FIRE SAFETY RISK ASSESSMENT

LEVEL OF FIRE RISK
In premises where there is a likelihood of a fire starting and spreading quickly, or a fire could start and grow undetected, and affecting the escape routes before people can use them, then the level of risk should normally be regarded at ‘higher’. Such premises might include those where significant quantities of flammable materials are used or stored; ready sources of ignition are present, e.g. heat producing machinery and processes; premises where significant numbers of the people are present and might move slowly or be unable to move without assistance; and premises where the construction provides hidden voids or flues through which a fire could quickly spread.

In premises where there is a low occupancy level and all the occupants are able bodied and capable of using the means of escape without assistance; very little chance of a fire starting; few if any highly combustible or flammable materials or other fuels for a fire; fire is unlikely to spread quickly; and will be quickly detected so that all people will quickly know that a fire has occurred and can make their escape, then the risk can usually be regarded as ‘lower’.

In most cases however, the risk will usually be ‘normal’.

Taking into account both the active and passive fire prevention measures and general fire precautions observed at the time of this fire safety risk assessment, it is considered that the hazard from fire (likelihood of fire) at these premises is:

	Low
	
	
	Normal
	
	
	High
	


In this context, a definition of the above terms is as follows: -

Low:

Unusually low likelihood of fire as a result of negligible potential sources of ignition.

Normal:
Normal fire hazards (e.g. potential ignition sources) for this type of occupancy, with fire hazards generally subject to appropriate controls.
High:
Lack of adequate controls applied to one or more significant fire hazards, such as to result in significant increase in the likelihood of fire.
Note that, although the purpose of the above is to place the risk fire in context, the approach to fire safety risk assessment is subjective and for guidance only. All hazards and deficiencies identified in this fire safety risk assessment should be addressed by implementing all the recommendations contained in the following action plan. 

The fire risk assessment should be reviewed regularly (recommended to be annually).
SIMPLE PREMISES
FIRE SAFETY ACTION PLAN

	Each item should be  allocated a priority as follows: -

	Priority  1:
	Needs attention immediately

	Priority  2:
	Needs attention within 1 month

	Priority  3:
	Needs attention within the next 6 months               

	Priority  4:
	Needs attention within the next 12 months


	Ref:
	Action

Required
	Priority
	Action by

Whom
	Completion

Date

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	

	Page
	
	of
	


	PLAN DRAWING 

	
	
	
	

	Complete a simple line drawing of the premises and identify your fire safety provisions including escape routes, portable fire extinguishers, smoke and / or heat detectors, emergency lighting and fire alarm call points. 

	KEY
Escape Routes                   Fire Extinguishers                 Smoke Detectors    SD         Heat Detectors     HD


Fire Alarm Sounders                             Emergency Lighting    EL              Manual Break Glass Point  MBGP



	
Identifying Ignition and Fuel Sources
As an aid to identifying the hazards within your premises it’s possible to use a system of noughts and crosses, using an X to mark ignition sources and an O for fuel sources. 


CUSTOMER CARE CHARTER

OUR STANDARDS AND COMMITMENTS

Emergency Response

· we will attend 70% of all dwelling fires within 8 minutes and 90% within 11 minutes 

· we will attend 75% of all road traffic accidents within 11 minutes and 90% within 15 minutes

· emergency calls will be answered within 1.46 seconds

Support Services

· all administration telephone calls received by Headquarters’ reception team will be answered within 15 seconds

· we will acknowledge receipt of all correspondence and e-mails within 5 working days of receipt and respond fully within 10 working days

Complaints

· you can expect a response to informal complaints within 5 working days

· formal complaints will be acknowledged within 2 working days and fully responded to within 7 working days (please refer to our ‘Comments, Compliments or Complaints’ leaflet for full details)

OUR PROMISE

In seeking to achieve excellence in customer care we aim to ensure that:

· our staff are welcoming, polite, courteous and helpful

· all our staff wear identity badges

· we respect your right to privacy, confidentiality and safety

· we treat everyone fairly and equitably, respecting individual needs

· we use clear language and not jargon

· we communicate effectively and respectfully with all members of our community

· our staff are regularly trained and developed

· we regularly seek the views of Service users

· our standards, targets and performance plans are widely published

If you have any feedback relating to any of the above, suggestions on how to make our services more accessible for all members of the communities we serve or would like a copy of the Comments, Compliments or Complaints leaflet, please contact Headquarters reception by using the following contact details:

(  0191 384 3381 or  (  ServiceHQ@ddfire.gov.uk

This document is also available in other languages, large print and audio format upon request

[image: image1.png]JH\MMMJLJJOJ.\.\SS\MUM\ LJJ;;Y\}LQ‘);‘ u@@iuumjj\a&



      


Arabic

[image: image2.png]G2 TS O O, TG % S GRS (57 SIS S TS T |



   

Bengali

[image: image3.png]-ﬁ;/fdp’//?d'/}Lb&/ﬂé% JJJ]L}’/. cufujl,JLZ:C’fﬁd/?w'}u



     


Urdu

[image: image4.png]AXHHTEER » BEREMELTBAFERK e THEREETH o



    

Cantonese

[image: image5.png]FAT W I TXATOT I T H, 98 /R Fl BUR A JA- dlel qATAH
w fr JueEr ¥




Hindi

[image: image6.png]Ce document est également disponible dans d’autres langues, en gros caracteres et
en cassette audio sur simple demande.




French






































































PAGE  

11    
Version 2 (Nov / 2009)

