Example Fire Safety Training Record
	Date:
	
	Duration:
	

	
	
	

	Given By:
	
	Session For:
	


Subjects Covered

	(
	
	The significant findings from the fire risk assessment and fire safety policies

	(
	
	What to do on discovering a fire

	(
	
	How to raising the alarm, including the locations of fire break glass points

	(
	
	The action to take upon hearing the fire alarm

	(
	
	The evacuation procedure for alerting guests, residents and visitors including, where 

appropriate, directing them to exits and assembly points at a place of total safety

	(
	
	The arrangements for calling the fire and rescue service

	(
	
	The location and , where appropriate,  the correct use of portable fire extinguishers and fire-fighting equipment

	(
	
	Knowledge of escape routes including stairways and especially those not in regular use

	(
	
	How to open all emergency exit doors

	(
	
	The appreciation of the importance of fire doors, keeping them closed and not wedged open to prevent the spread of smoke and heat, keeping escape routes unobstructed

	(
	
	Where appropriate, isolating electrical power and gas supplies and stopping machines and processes

	(
	
	The reasons for not using lifts (except those  specifically constructed as evacuation lifts)

	(
	
	The safe use, risks from storing and working with highly flammable/ explosive substances

	(
	
	General fire precautions, fire awareness and good housekeeping practices

	(
	
	The no smoking policy (where applicable)

	(
	
	Special provisions for assisting disabled people and any training needed

	(
	
	Identifying fire hazards and fire incidents reporting procedures; and 

	(
	
	Equipment fault reporting procedures.


	Names of those attending:

	
	
	

	PRINT NAME
	SIGNATURE

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	
	

	I confirm that I have delivered the above subjects to those named above as attending.

	
	
	

	Name:
	
	Date:
	

	
	
	

	Signed:
	
	Position:
	


